## Work Orders 22-01-31
Date reported | Unit | Reported by | Request Type | Location | Sub-Category | Description | Progress Notes | Start Date | Completed
8/2/21 | 01A | Robert Poythress | Grounds/Landscape | Building/Courtyard | Lanai/balcony | Confirm of lanai/balcony inspection | Inspection by Venture completed. Awaiting info for repair. Oct 2021 | In progress
6/28/22 | 1G | Charles Dodge | Other | Poool | Pool temp | I'd like to return to 86F pool temp. | Board will determine to return to 86 after the 2-week trial. | 6/24/22
11/30/22 | 2 |  | Electrical | Building/Courtyard | Other | Owens will be here to test the breaker behind this building on 12/6/22
6/2/22 | 2D | Sima Khaytin | Other | Building/Courtyard | Leak | A big wet spot on the ceiling in the master bathroom | Crown started repair on 6/10/22. | 6/10/22
5/20/22 | 02F | Tabitha Hall | Grounds/Landscape | Common Grounds | Irrigation | Tall sprinkler head that sprays balcony windows and leaves spots. It's been capped. Requesting it to be moved away from the windows. | LMP Irrigation team will assess when doing the monthy wet-check on 5/31.
10/01/2022 | 02H | Pat Schroff | Grounds/Landscape | Parking Area | Tree | The parkway tree outside of our courtyard is impeding the use of our first parking space, ( we have 3). A chain will be needed to cut a major offshoot of the main tree.
10/24/2022 | 3A | Bruce Witte | Other | Building/Courtyard | Lanai | Request was made to have the deck and fence replaced above his unit. This was never completed and now owner has staining on ceiling.
6/27/22 | 3E | Nan Schreier | Other | Building/Courtyard | gutter | The scupper on the south wall above by garden is leaking from the bottom and the gutter pipe below is also leaking. | Crown inspected on 6/28. Awaiting approval for repair. | 6/28/22
10/25/2022 | 3E | Nan Schreier | Electrical | Building/Courtyard | Light Bulbs | The lights in the park area between buildings 10&11 are both out and have been for a long time.
7/29/22 | 4A | James Scherz | Other | Common Grounds | Parking blocks | Curb stops in carport is badly cracked. | In progress. Maintenance will count the broken blocks and contact a vendor for repaires.
| 4A | James Scherz | Grounds/Landscape | Common Grounds | Trimming | Carrot tree outside courtyard 4ABCD was damaged in storm/large section needs to be removed.
11/17/22 | 4A | Kathy Scherz | Other | Common Grounds | Other | Please pull out 3 tables - do not set them up. The committee will do it on the 26th. Tables are for decorations and ornaments
10/17/21 | 04H | Stacy Corean | Grounds/Landscape | Building/Courtyard | Landscape | Grass in front of Bldg 4 needs to be replaced and the area needs more plants/shrubs | Landscape Committee will assess | 10/18/21
5/5/22 | 05C | Merry Angioletti | Grounds/Landscape | Building/Courtyard | Lanai/balcony | White railings in guest bedroom & master bdrm are rotting and lose. Floors of lanai are wearing away and chipping. | Inspected by Steve B on May 7th. Will have a structural engineer assess the areas | 5/9/22
| 5D | Steve Barnum | Other | Building/Courtyard | Irrigation | Is there irrigation at front entrance? Front gate? And aroung building 24 and 30?
10/01/2022 | 05F | William Boychuk | Grounds/Landscape | Common Grounds | Tree | Oak tree branch down front of storage area of carport 5 e-h. Tree next to storage area bldg 6 a-d branches need to be removed from tree.
11/11/22 | 5F | William Boychuk | Grounds/Landscape | Building/Courtyard | pressure wash | The courtyard of 5E-H needs to be pressure washed.
10/25/2022 | 6B | Joan Schnuerch | Electrical | Building/Courtyard | Light Bulbs | There is absolutely no lights on building 9and12 as well as the carport. Suggested the breakes be checked out.
11/7/22 | 6E | Bob Kelly | Grounds/Landscape | Common Grounds | Other | We need the water level on pond #1 increased and maintained at a high level. The water plants need this.Please use the pumps consistently to keep the water high.
6/21/22 | 07F | Betty Klapp | Grounds/Landscape | Building/Courtyard | Drainage | Reported by the previous owner in Oct 2021 of side garden water drainage issue. Patio is lower than the outside grade of the walk path. | Board members, management and maintenance staff have assess the privacy garden issue since the work order was submitted. Will discuss the solution, possibly french drain, with the maintenance staff. | 6/29/22
5/13/22 |  | Alice Hammermann | Grounds/Landscape | Common Grounds | Sod | The area in front of 7E-H , the dead grass needs to be replaced along with the irrigation system that doesn't work. | LMP irrigation team has repaired the irrigation. Landscape Committee needs to assess the sod replacement | 5/16/22
6/14&8/28/22 | 07G | Alice Hammermann | Grounds/Landscape | Building/Courtyard | Weeds/Trimming | Palm tree branches are hanging over the steps. | LMP have been notified. | 6/15/22
9/7 | 9B | Lorene Erickson | Grounds/Landscape | Common Grounds | Sprinkler | Please relocate sprinkler system, left side facing toward my lanai because it hasn’t worked for a long time and also because I plan to have installed a paver pad for the new rule. The sprinkler system is in the way. I have only one round paver stone and that will probably be removed by the new order. Also, the second sprinkler system is capped and under the rubber runoff tube attached to the gutter system. It to needs to be relocated and in working order | Currently the irrigation has not been working due to the pump being down. BrightView Irrigation manager has been notified. | 9/12
11/11/22 | 9G | Deborah Dunham | Other | Building/Courtyard | Water Leak | Water Leak above dining room | Emailed Crown 11/21 - between 12 - 2 pm. Confirmed w/Deborah | 11/21/22
4/20/22 | 09H | Patricia Friedberg | Other | Common Grounds | Irrigation | Irrigation spout head next to the carport for 9E-H is not working | Will have Owens Electric to inspect the breaker panel on 4/29 | 4/29/22
| 9H | Patricia Friedberg | Electrical | Building/Courtyard | Light Bulbs | Wall light on top of stairs has been out for sometime.
11/30/22 | 10 |  | Electrical | Building/Courtyard | Other | Lighting behind building 10 by the wooden bench is not working. Owens to look at this on 12/6/22
8/16 | 10B | John Anderson | Other | Building/Courtyard | fountain | It is 10:15 AM my fountain in the courtyard just quit | Fountain has been repaired. | 8/16/22
8/23 | 10B | John Anderson | Other | Building/Courtyard | Irrigation | Irrigation did not go on in courtyard this morning as scheduled and surrounding areas | BrightView irrigation team has been contacted on 8/25. | 8/25
7/5/22 | 10C | Siobhan Neeson | Other | Building/Courtyard | gutters | Gutters need to be cleaned for the entire complex. | Contacted Crown to clean the gutters. | 7/5/22
8/20/22 | 10E | Beverly Gorman | Grounds/Landscape | Common Grounds | Landscape | The island of landscaping behind building 10-A-D and E-H looks terrible. There are weeks everywhere, no plants, needs mulch and edging. Bushes need to be pruned. It is a real eye sore. If the landscapers can't address this, please pass this work order onto the Landscaping committee for help. | Landscape Committee has been contacted. | 8/24/22
9/8 | 10F | Linda Kebler | Grounds/Landscape | Building/Courtyard | Trimming | The two Palms in our Courtyard between the windows need to be trimmed. | According to BrightView's rotation schedule, Building 10 will be taken care of on 9/27 or 10/4. | 9/12/22
10/30/22 | 10G&10B | Pam Britt | Grounds/Landscape | Building/Courtyard | Irrigation | Irrigation cover is missing on box along drive across from listed units. Entered as a result of Board Member walk. | A square paver was put on top of opening to over cover
5/11/22 | 11A | Robert Carrier | Grounds/Landscape | Common Grounds | Landscape | Plantings and dirt infront of privacy garden is needed. Soil is washed away, thus exposing all irrigation piping. Sidewalk always filled with dirt, it needs rubber guard. | Landscape commiittee will assess in the week of 5/16. | 5/12/22
10/18/21 | 11B | Ann Huhn | Grounds/Landscape | Common Grounds | Lawn/sod | Sod needs to be watered more often and shrubbery needs fertilizer | Landscape Committee will assess | 10/19/21
10/29/21 | 11B | Ann Huhn | Grounds/Landscape | Common Grounds | Tree survey | Large trees with roots that are of substantial size need to be thoroughly checked to prevent building & plumbing problems | Management will contact LMP | 11/3/21
9/9 | 11B | Ann Huhn | Other | Building/Courtyard | Downspout | The downspout from the flat roof may be partially blocked. I walked past between downpours Friday- The single downspout was dribbling water from it with a large puddle at the outlet, while the 2 near by garden door were dry around them. | Crown has scheduled an assessment on 9/13/22. | 9/12
11/22/22 | 12A | Betsy Hughes | Other | Other | Other | Door to privacy garden was ddamaged during storm is now will not close properly. | Hinge can't be removed - Need new door | 11/22/22
| 12B | Tom Sweeney | Grounds/Landscape | Common Grounds | plant | There is a large Dracena plant invading the sidewalk along the side of 12B near the carport. This plant is very spiky and can cause scratches. Please remove this plant. | The Landscape Comm chair was contacted on 8/3. Per the Committee, it is not safe for the Comm to handle. Management will contact BrightView to take care of. | 8/3
8/2 | 12B | Tom Sweeney | Grounds/Landscape | Common Grounds | Fence | The fence line from 11 A-D to 12A/B does not have green mesh screening along the fence line. Please install the mesh screen in this area. | This will be Maintenance Committee project beking budgeted for next year | 8/
10/30/22 | 12D | Pam Britt | Electrical | Building/Courtyard | Lightbulb | Cap on the outside of building is missing. Entered as a result of a board member walk around.
2/22/22 | 12F | Marianne Goslawski | Other | Building/Courtyard | Drain pipe | Drain pipe from roof to ground not attached to Bldg 12 between courtyard and private lanai. It's scraping and banging agaist building.
6/6/22 | 12G | Cindy Frederickson | Other | Building/Courtyard | Fountain | The fountain needs to have the water vacuumed out. | Fountain has been cleaned out.
10/24/2022 | 12G | Cindy Frederickson | Grounds/Landscape | Building/Courtyard | Trimming | The 3 Birds of Paradise trees located at her stairs where butchered by someone the other day. | Homeowner would like a response to why these were cut?
7/17/22 | 12H | Lee Marshall | Grounds/Landscape | Building/Courtyard | Trimming | Please top off the large Magnolia tree inside the privacy garden. it is located below the balcony of 12H. It used to be topped off annually, but because we have had so many management changes in the last few years, I think it has been forgotten. It is higher than the roof top now and soon will be encroaching on my balcony railing again. | Will beed to be done when Assoc. does hard wood tree trimming in Oct or November.
| 14E | John La Polla | Grounds/Landscape | Building/Courtyard | Trimming | Courtyard bushes need to be trimmed and cleaned out.
| 14E | John La Polla | Other | Building/Courtyard | pressure wash | Courtyard full of mold please pressure wash.
10/30/22 | 14H | Samanatha Brown | Electrical | Building/Courtyard | Light bulbs | Unit number light is out need replacement bulb.
| 14H | Samanatha Brown | Grounds/Landscape | Building/Courtyard | pressure wash | HO reporting mold in the Courtyard.
| 14H | Samanatha Brown | Grounds/Landscape | Building/Courtyard | Trimming | Bushes are hanging down of the steps.
10/11/21 | 15E | Mano Krishnan | Grounds/Landscape | Building/Courtyard | Irrigation | Sprinklers in the privacy garden, courtyard & outside the lanai are not working |  | 10/12/21
8/25/21 | 15E | Mano Krishnan | Grounds/Landscape | Common Grounds | Landscape | Hedges close to lake need removal
3/31/22 | 15F | Leslie Drda | Other | Building/Courtyard | Flashing | A piece of flashing fell off the lanai roof | Contacted Crown Roofing to install it back | 4/4/22
9/12 | 15G | Steven Eveland | Other | Building/Courtyard | Gutter | Gutters on both balconys off the den and master bathrooms are shooting water onto/into the sliders and doors and have caused rot in doors and frames | Crown will assess the gutters on 9/13/22. | 9/12
1/15/22 | 15H | Bob Shattuck | Grounds/Landscape | Building/Courtyard | Weeds/Trimming | The large flowering tree hanging over the wall in front of the courtyard 15E-15H needs to be trimmed | Landscape Committee has scheduled to trim in February. | 1/20/22
12/6/22 | 16A | Patricia Smith | Plumbing | Building/Courtyard | Fountain | Fountain not working properly, now disconnected. | Needs new wiring per maintainence. | 12/6/22
6/27/22 | 16A | Dennis & Patricia Smith | Other | Building/Courtyard | gutter | Gutter and downspouts are clogged. | Crown assessed & sent a proposal for repairs on 6/28. | 6/28/22
9/7/21 | 16A-D | Betty Radloff | Grounds/Landscape | Common Grounds | Weeds/Trimming | Common area behind units needs extra care
11/4/21 | 16D | Betty Radloff | Grounds/Landscape | Common Grounds | Tree | Please remove the evergreen tree next to the carport | Will refer to Landscape Committee | 11/4/21
11/10/22 | 16G | Garcia | Grounds/Landscape | Common Grounds | Tree | Palm tree between 16G and 16H went down after the storm and HO would like to have something put in its place for privacy.
7/28/22 | 16D | Betty Radloff | Grounds/Landscape | Common Grounds | Trimming | Please remove palm fronds near the lanai screen . | Will be done with Annual palm tree/Hard wood tree trimming in Oct or November.
11/22/22 | 16G | Call in | Electrical | Common Grounds | Light Bulbs | The lights are out on the right side of the colums.
11/21/2022 | 17B | Carter Montross | Other | Other | Gym | Treadmill has stopped working
3/16/22 | 18D | Jim Seyfried | Other | Building/Courtyard | sidewalk slabs | 16 crached slabs around Bldg 18. | Maintenance confirmed and needs to refer to a vendor | 3/21/22
3/16/22 | 18D | Jim Seyfried | Other | Building/Courtyard | Concrete slabs | Cracked slabs around Bldg18. Sidewalk cracks extended to mailbox west side between 18 & 19 | Management will contact a vendor
12/5/22 | 18D | Jim Seyfried | Plumbing | Bldg 6 | Carport | Leaking Backflow valve | Called Accurate Backflow. Will schedule when they email a quote. | 12/7/22
10/01/2022 | 19B | Alice Kratkiewicz | Grounds/Landscape | Common Grounds | Trees | 2 trees uprooted and down on Noth side of bldg
8/25 | 19B | Alice Kratkiewicz | Irrigation | Building/Courtyard | Irrigation | Several sprinkler heads in courtyard not working. Pond side sprinklers need checking. | From the BrightView irrigation inspection on 8/26/22, the Pump #4 is down. Awaiting an estimate. | 8/31
5/21/22 | 19F | Alice Terwilliger | Grounds/Landscape | Common Grounds | Hump | Hump in the road close to 19H in the front. 12" duameter. Needs further investigation | Painted X in yellow on the ground and requested to have an excavator assess/investigate the hump. Anderson Asphalt inspected on 6/15/22. The report form Sunshine 811 pending. | 5/23/22
6/8/22 | 19G | Jim Scherz for The Mosteller | Other | Building/Courtyard | Leak | Guest bedroom ceiling leak near ceiling fan. |  | 6/10/22
1/10/22 | 19H | Candace Sommer | Other | Building/Courtyard | Railing/fencing | The railing/fencing on the balcony is badly chipped and peeling. Painting needed. | Awaiting owner's email to confirm paint is needed on the side | 1/19/22
10/25/2022 | 20 | Nan Schreier | Electrical | Building/Courtyard | Light Post | The light in the park area by building 20 is on the ground as has been for a long time.
9/16/21 | 20B | Robert Borneman | Electrical | Building/Courtyard | Lights | Change the overhead light bulb | Owner will get the bulb replacement & Maintenance will assist | 9/22/21
10/30/22 | 20B/G | Pam Britt | Other | Common Grounds | Fountain | Pam has reported that the fountain needs to be zip tied.
3/4/22 | 20C | Megan Absten | Other | Building/Courtyard | Lanai slider | Please look at my back lanai slider tracks (weep holes). | Work order has been forwarded to Steve Barnum for inspection | 3/4/22
11/27/22 | 27D | William Caples | Electrical | Building/Courtyard | Light Bulbs | There is only one light out in the entire property and it is as you look at 20E on the left side. | 11/30/22 Completed by Ben | 11/30/22
9/11 | 20G/H | Jean O'Connell | Grounds/Landscape | Building/Courtyard | Trimming | Tree facing lake between our 2 units encroaching on rain gutters(20G) and lanai screen (20H)-Must be cut back! | Hardwood trees scheduled in Oct or November
9/11 | 20H | Jean O'Connell | other | Building/Courtyard | leak | We are upstairs need roof checked over lanai-I can hear water dripping on lanai roof very clearly as well as possibly inside lanai wall-needs to be looked at | Crown will assess the gutters on 9/13/22.
12/16/21 | 21A | Sofie Sussman | Grounds/Landscape | Building/Courtyard | Weeds/Trimming | Please trim 4 dead palm fronds in the courtyard | In descussion with Finance Committee & the Board
1/4/22 | 21H | Dawn Stanhope | other | Building/Courtyard | Other | Some wet areas on the roof. The vents for bathrooms donot have an exterior exit and adds to the moisture content in the attic space. |  | 1/5/22
11/22/22 | 21-22 | Suzie Mandsager | Electrical | Common Grounds | Light | Broken ground light | Bob repaired broken light.
10/30/22 | 22B | Pam Britt | Other | Common Grounds | Fountain | Pam has reported that the waterfall feature behind B22&29 sounds like it is straining.
3/21/22 | 22C | Dan Mull | Grounds/Landscape | Common Grounds | Drainage | Please remove silt that has eroded into the "finger" area of Lake #4 behind Bdlg 22.
7/7/22 | 22D | Joe Kirsche | other | Common Grounds | sign | The new sign by the SPA has incorrect hours of operation. | The sign company has been contacted and will revise it
7/11/22 | 22D | Joe Kirsche | Safety | Common Grounds | Pool Lock | Pool Gates require a key to get in and to get out. Key to get in is OK. But there should be an emergency "break-out" method to exit the pool area. This is clearly a safety issue.
8/9/21 | 22F | Barbara Nicholls | Grounds/Landscape | Common Grounds | Tree | Examine trees in back of unit for possible trim | Hardwood trees scheduled in Oct or November
9/10 | 22F | Barbara Nicholls | Other | Building/Courtyard | Awning | Water just pours through wood balcony above privacy garden area when it rains. The fabric awning needs to be replaced and extended a few inches out further which may remedy the situation. The wood floor boards drip or pour water even after rain has stopped. The rain also pours down wall over bedroom door turning exterior of door green and rotting jamb. | The owner has been notified that the balcony awning is the homeowner's responsibility.
11/23/22 | 23A | Donn Ness | Grounds/Landscape | Building/Courtyard | pressure wash | Please clean Courtyard of mold buildup.
8/12/21 | 23B | Annette DeVoe | Grounds/Landscape | Building/Courtyard | Other | Drainage issue by lania | Recommend yard drains
1/24/22 | 23B | Annette DeVoe | Other | Building/Courtyard | Irrigation | Sprinklers in privacy garden, courtyard & around the front of 23B have not been working for sometime. | Maintenance staff confirmed that there's no water going to the pump. LMP has been contacted.As of Aug 26, BrightView Irrigation team confirmed that the pump needs to be replaced. Awaiting quote. | 1/25/22
12/20/21 | 23C | Jonathon DeMichiel | Other | Building/Courtyard | Other | We have a hole in the screening outside the lanai |  | 12/23/21
3/14/22 | 24A | Evelyn McElroy | Grounds/Landscape | Building/Courtyard | Weeds/Trimming | Please trim bushes by lanaio
10/3/21 | 24B | Tom Greer | Grounds/Landscape | Common Grounds | Tree | A large opening/gap in Australian pines across from 24A-D | Landscape Cmte will look to fill the gap(s) with other plants/bushes | 10/5/21
11/8/21 | 24B | Tom Greer | Grounds/Landscape | Common Grounds | Grading | Ground behind the lanai needs to be graded away from the building. Currently the grade goes toward condo which make heavy puddling and slight water penetration into the lanai.
7/19/22 | 24B | Tom Greer | Safety | Common Grounds | Covering on fence | The condo development across from units 24 and 25 is very visible to owners. For security reasons, please install a green tarp covering on link fence to reduce the exposure of our condo. | Per PM, this is one of the items Maintenance Committee has discussed to handle for the entire property when they have the budget to do so.
11/29/22 | 24H | Karen Knoell | Other | Building/Courtyard | Other | Two dark spots on ceiling in unit. 1) Master bedroom. 2) Livingroom. | Crown scheduled 12/12 between 2 - 4 pm. | 11/29/22
10/24/2022 | 25A | Claudia Moore | Grounds/Landscape | Building/Courtyard | Trimming | Behind unit 25A homeowner is requesting that the boxwood type bush be trimmed from the top about 18 inches and begin to shape.
3/23/22 | 25C | Joan Martin | Other | Building/Courtyard | Storage | Door to storage shed is stuck and the grill vent has fallen out | The owner will contact us back once she has the parts ready for the Maintenance staff to repair
7/18/22 | 25G | Beth Douglas | Grounds/Landscape | Common Grounds | Trimming | Please see if maintenance can trim tree outside of courtyard. | This will need to be done when Assoc. does palm tree trimming in Oct or November.
11/25/22 | 25H | Marla Clauser | Other | Building/Courtyard | Roof | Water spots on 2 ceiling areas in condo. 1 before center entrance of lanai, the other in family room. | Crown scheduled 12/8/22 between 2 - 4. | 12/8/22
11/21/22 | 26C | Gonzalo Hernandez | other | Building/Courtyard | Gutters | Gutter guard above unit as well as 26B,D are broken due to Hurricane Ian. |  | 11/21/22
| 26C | Gonzalo Hernandez | Other | Building/Courtyard | Irrigation | HO. Is reporting that after the recent wet check his irrigation still isn't working.
11/21/22 | 26C | Gonzalo Hernandez | Electrical | Building/Courtyard | Fountain | Fountain in courtyard has electrical issues.Please drain so that we don not breed mosquitoes.
12/6/22 | 26D | Ed Jensen | Electrical | Building/Courtyard | Fountain | Fountain has been out 2 mos. | Pending per Maintenance. Ben wants to ask Susie about this. | 12/6/22
12/31/21 | 26E | Valerie Evanko | Other | Building/Courtyard | Leak | Water in lanai. Don't believe it's from rain |  | 12/6/22
1/18/22 | 26F | Ron Schmutzler | Other | Building/Courtyard | Irrigation | The sprinklers behind my building are either not working or there is not a sufficient number of heads. We have noticed the grass turning brown and dying for the last three years. | LMP/Bill will access the issue | 1/18/22
1/14/22 | 26F | Ron Schmutzler | Grounds/Landscape | Common Grounds | sod | The grass area behind Building 26EFGH is dead. It has been browning out and getting worse every year for the last five years. I would recommend having the sprinkler company first check to see that the area is covered by the heads, and then plant new grass. | LMP and Landscape Committee will acess | 1/18/22
4/7/22 | 26F | Ron Schmutzler | Other | Building/Courtyard | Irrigation | Additional sprinkler heads are needed directly behind my building. | In progress with LMP | 4/11/22
10/03/2022 | 27H | Ingrid Laszlo | Other | Roof | Leak | Roof leak in living room from hurricane. Prior roof leaks lanai and laundry room fro ealier storm | Roof
12/27/21 | 27H | Ingrid Laszio | Grounds/Landscape | Common Grounds | tree | Dead palm by pond behind 14AC it's to the left of the landscape light. The sago palms carport coner of 27HF by privacy gardenentrance have a disease and need to be sprayed | Per LMP, a tech will spray the diseased palm. Will need a proposal for removing a dead palm by 14AC. | 1/14/22
7/20/22 | 28H | Leela Benford | Grounds/Landscape | Common Grounds | Trimming | NOT SURE WHEN PALM TREES ARE BEEN TRIMMED. BUT WHEN THEY DO, PLEASE TRIM OFF THE TREE BRANCHES OVER THE AC'S FACING THE LAKE. THESE BRANCHES ARE OVER MY BATHROOM ROOF , AND LEANING ON MY WALLS . BLACK ANTS ARE APPEARING ON MY WINDOW SEAL AND SOMEHOW ARE GETTING INTO THE WINDOW. I HAVE BEEN SPRAYING TO KEEP THEM OUT.. | Will need to be done when Assoc. does annual trimming. Trying to cordinate with BrightView. | 7/21/22
8/17/22 | 29B | Paula MacHose | Other | Building/Courtyard | Stairs | The stairs going up to unit 29C has yet to be painted. | There are 12 units on the waiting list since May 18th, that's when the paint became on backorder. No paint companies in town can get the paint due to supplier issues since May.
11/29/21 | 29G | Judy Hundley | Grounds/Landscape | Common Grounds | Landscape | Landscaping on the berms behind dg 29's water falls needs attention and it should be consulted with LMP | LMP(Bill G) has been contacted in 2021. Still in discussion w/LMP as of 1/18/22. | 1/20/22
6/26 | 29G | Judy Hundley | Other | Common Grounds | Gate finials | Please have Maintenance see what they can do about the finials on the Front Gates being different colors. Coming in Gate needs cleaning to get the calcium deposits off, then maybe the gold can be seen. I sent pictures thru email. Thank you | Maintenance staff will be able to handle after the rainy season.
7/5/22 | 29G | Judy Hundley | Pool Area | Common Grounds | Pool | Please replace the caps on the fence posts surrounding the pool area that are missing. There are at least 3-4 off. Please have Ben check all posts including the ones that go into the pool pump area on the far side before he goes to Home Depot. They are the same as we use on the sign posts sleeves. | Ben has bought some caps. Still in progress. | 7/29/22
3/31 - 7/5/22 | 29G | Judy Hundley | Grounds/Landscape | Common Grounds | Trimming | This is another work order to replace the one I sent on 3.31.22 that says complete which is NOT. Please remove that. The (2) Palms that are located between Building 29G-H in the corner back area of the building is hitting the screen and totally covering the gutters causing the rainfall to overflow at the gutter point and blocking from flowing to the downspout. | The initial work order was emailed to LMP from APM on April 4th, the second one sent on 5/10, the third 6/6 while LMP had been advising that they'll take care of trimming. After the third request to LMP, the maintenance staff attenpted, however, it is too tall for them to handle. After 6/6, it took over a month for LMP to notify the management that this work order will be included in their annual palm trimming schedule.Management will discuss annual palm trimming schedule with BrightView on 8/18/22. | 4/4/2022
7/5/22 | 29G | Judy Hundley | Other | Common Grounds | #s on back of buildings | Numbers on back of buildings: It is very difficult to report problems as we walk including reporting landscaping problems, dead animals or even an emergency when the numbers are missing from the buildings. Hampton Painting removed these numbers when painting and never bothered to replace them. I found mine on the berm and ask them to put it back up after they had finished painting my building. All numbers need to be on the left side in back of all buildings so we all know where to look. | Hampton Painting has been contacted to return the building numbers if they still have them. If they no longer have them, management will discuss with the maintenance committee. (In process.)
9/13 | 29G | Judy Hundley | Pest Control | 18A | Bugs | Something is on the bedroom awning/window facing the street. Bug were flying around.
9/13 | 29G | Judy Hundley | Irrigation | 12H | sprinkler | By 12H a sprinkler is broken off and laying on the ground outside privacy garden facing sidewalk, street front.
| 29G | Judy Hundley | Other | Common Grounds | Painting | Please have Ben paint the Yield sighn that needs to be installed
10/29 | 30A | Phyliss Sellers | Other | Building/Courtyard | Pool | Official website photo of the pool needs to be updated. Does not reflect improvements in pool furniture and landscaping on both sides of the pool fence. | Steve Barnum & Dan Mull will volunteer to take pictures
8/17/21 | 30A | Paul Sellers | Electrical | Other | R&M | Pump in overflow lot running 24hrs/day | Maintenance addressing. 8/12/22 - Owen's Electric technicians found out an extensive issue. Still in progress. | 8/12/22
8/22/21 | 30A | Phyliss Sellers | Safety | Common Grounds | Other | Walkway to garbage cribs has sandy soil | Maintenance staff will put shells | 12/8/21
| 30A | Phyllis Sellers | Irrigation | Building/Courtyard | Sprinkler | HO. Is still waitng for irrigation to function. |  | gma
12/6/22 | 30C | Paul Dara | Other | Building/Courtyard | Door frame | Door frame was forced resulting in the glass becoming separated from framework. |  | 12/6/22
3/4/22 | 30C | Reported by Joe Sacco | Safety | Building/Courtyard | Other | Deck off to den has rotted floor boards and is a safety hazard... Please address ASAP. | Work order forwarded to Steve Barnum. He will inspect the den. | 03/04/2022
6/6/22 | 31A | Hugh Scanlon | Other | Building/Courtyard | Entryway | Flooding of entryway during heavy rains. Steve Barnum suggested a drain w/ stones may elevate the problem. | Ben and Steve will determine how to proceed. | 06/13/2022
8/17 | 31C | Chrissy Roberts | Grounds/Landscape | Building/Courtyard | Trimming | The large red bush needs to be cut down to expose the entrance to the left. This has been completed and it shows on the work order that it has. | Bright View advised that they will take care of this request when they go back to the rotation for Bldg. 31 on Sep 20th. (Their initial rotation for Bldg. 31 was 8/16.)
12/20/21 | 31F | Lori Deistefano | other | Building/Courtyard | other | Lanai screens are damaged from landscaping | Monster Tree Service has been contacted | 12/23/21
12/27/21 | 31F | Lori Deistefano | Grounds/Landscape | Building/Courtyard | Power wash | Courtyard needs pressure wash once a month | Maintenance will have a schedule for pressure washing all courtyards for 2022 and will start the project soon | 1/6/22
10/24/2022 | 32F | Donna Reilly | Other | Building/Courtyard | Painting | Paint wall in privacy garden. Red stsains from awning above, due to hurricane damage.
10/30/21 | 32G | Suzie Mandsager | Other | Building/Courtyard | Carport beams | Pls have Venture evaluate the sagging, rotten beams on the rear and fron side of carport 32EH | Venture will do the water test | 11/1/21
4/27/22 | 33A | Ruth Lombardo | Grounds/Landscape | Building/Courtyard | Weeds/Trimming | Large palm tree roots are cracking the concrete of crescent planter | LMP will thin out the palm tree and monitor for a while | 5/9/22
8/24/21 | 33A-D | All Residents | Grounds/Landscape | Common Grounds | Gutters | Grass growing from carport gutter | Will contact Crown Roofing | 9/17/21
3/20/22 | 33C | William Shepler | Other | Building/Courtyard | Stairs | Please put 32G stairs on the list to be painted. | On Waiting List. Paint backorder. On Hold. | pending
2022-01-31 |  | Terry Ruff | Other | Building/Courtyard | Other | Set up Grill and table/chairs for New Years Eve Party. | Bob completed 12/31/22 | 12/31/22 | 12/31/22

## Work Orders 23-04-05
Date reported | Unit | Reported by | Request Type | Location | Sub-Category | Description | Progress Notes | Start Date | Completed
2023-01-01 | 5D | Stephen Barnum | Grounds/Landscaping | Other | Tree | Dead palm fronds next to lenai need trimmed | Ben trimmed palm fronds | 2023-01-01 | 2023-01-03
2023-01-03 | 24F | Piotrowski | Grounds/Landscaping | Other | Tree | Privacy garden wall needs painted | Ben painted wall | 2023-01-03 | 2023-01-03
2023-01-03 | 3A | Bruce Witte | Gate | Side Gate/Bayshore | Side Gate | Sensor issues on Bayshore side gate | Bob readjusted sensor -- works good for now | 2023-01-03 | 2023-01-03
2023-01-03 | 32H | Layne VerVeer | Electric Panel | Building | Elec. Panel | Elecrtic panel malfunctioning . Tenant indicating breaker box continues to shut down | Bob replaced vocer on panel | 2023-01-03 | 2023-01-03
2023-01-03 | 30A | Paul Sellers | Grounds/Landscaping | Building | Fountain | Fountain pump needs to be replaced. Electric is fine but the pump is shot. Low voltage pump. Tenant drained the fountain on 1/3/23 to get it ready for the pump replacement. | Bob replaced pump | 2023-01-03 | 2023-01-03
2023-01-03 | 32C | Pam Britt | Grounds/Landscaping | Irrigation | Other | Broken irrigation pipe at overflow parking lot | Pending | 2023-01-04 | pending
2023-01-04 | 10B | John Anderson | Grounds/Landscaping | Building/Courtyard | Fountain | Fountain in lake 2 not working | Bob unclosed | 2023-01-04 | 2023-01-04
2023-01-04 | 4H | Stacy Corean | Grounds/Landscaping | Courtyard | Other | Mold on the cground in courtyard very slippery. | Bob pressure washed | 2023-01-04 | 2023-01-04
2023-01-04 | Office | Cindy Perseo | Grounds/Landscaping | Pool gate lock | Pool | Broken back middle lock on pool gate (tenant reported) did not complete work order - walk in) | Pending | 2023-01-04 | pending
2023-01-04 | 32E | Nan Schreier | Grounds/Landscaping | Pressure Washing | Courtyard | Coutyard is in gread need of pressure washing. | Bob pressure washed | 2023-01-04 | 2023-01-04
2023-01-05 | 10B | John Anderson | Grounds/Landscaping | Fountain | Fountain | Lake 2 fountain not working again | Ben completed | 2023-01-05 | 2023-01-05
2023-01-05 | 30A | Phyllis Sellers | Electrical/Light bulbs | Electrical | Elec./Lights | Pool post light near window of BOD president BLDG 32 has been bliniking on/off for days. Needs a new bulb. | Ben replaced bulb | 2023-01-05 | 2023-01-05
2023-01-05 | 25C | Joan Martin | Grounds/Landscaping | Courtyard | Palms | Palms in courtyard at steps to 25C need dead fronds removed. | Ben/Bob trimmed | 2023-01-06 | 2023-01-06
2023-01-05 | 30A | Phyllis Sellers | Grounds/Landscaping | Pool Area | Spa | Spa clock has not functioned for weeks, needs battery replaced. | Bob replaced new battery | 2023-01-06 | 2023-01-06
2023-01-05 | 3E | NanSchreier | Grounds/Landscaping | Irrigation | Other | The tall irrigation that is in the hedge between my unit and the appear to be leaking water on the bottom of the head. About half of the water comes from the top and bottom of the nozzle. | Bob repleaced sprinkler head | 2023-01-05 | 2023-01-05
2023-01-05 | 15H | Bob Shattuck | Grounds/Landscaping | Pressure Washing | Other | Front of courtyard need pressure washed as well as the stair well and steps leading up to 15H on which my wife fell down las year and suffered severe lacerations. | Bob pressure washed | 2023-01-05 | 2023-01-12
2023-01-06 | 30A | Paul Sellers | Grounds/Landscaping | Pool Area | Other | The lights around the perimeter of the pool did not come on last night. | Bob complted, relpaced bulbs | 2023-01-06 | 2023-01-06
2023-01-07 | 15H | Bob Shattuck | Electrical | Light bulbs | Elec/lights | Doorbell outside unit no loner works and needs to be replaced, I tired to go it but could not get the screw out that holds into the wall. | Ben completed, put in new button | 2023-01-07 | 2023-01-07
2023-01-07 | 9H | Patricia Friedberg | Grounds/Landscaping | Pressure Washing | Other | Pavers outsdie all of building 9H need pressure washing. | Bob completed. | 2023-01-07 | 2023-01-07
2023-01-08 | 32C | Pam Britt | Grounds/Landscaping | Fountain | Other | Fountain in 32 A/D is not on. | Ben complted. | 2023-01-08 | 2023-01-08
2023-01-09 | 5E | Robert Strasser | Grounds/Landscaping | Building/Courtyard | Other | 2 Sprinklers need replaced and adjusted. Water is coming into my entrance flooding my carpet. | Ben completed | 2023-01-09 | 2023-01-10
2023-01-09 | Clubhouse | Judy Hundley | Other | Clubhouse | clubhouse | Have maintenance bring out 5 round tables and 8 chairs each and 1 long table for | Bob/Ben completed | 2023-01-09 | 2023-01-09
2023-01-09 | 32C | Pam Britt | Grounds/Landscaping | Pool | Other | Chains and sings need to be replaced on stairs to roof of clubhouse from pool area. | Ben completed | 2023-01-09 | 2023-01-09
2023-01-09 | Front Gate | Pam Britt | Grounds/Landscaping | Light bulbs | Other | Large ground light closest to the gate on the left is out. Also Both lights on the right hand side going out of the gate in the island is out. | Ben completed | 2023-01-09 | 2023-01-09
2023-01-10 | 9C | Cathy Harris | Electrical/Light Bulbs | Light bulbs | Other | 2 Landscape lights have been out for months 9A and 9B. One is located near the cluster of low bushes close to the pond in the sight line of 9A. The other s on the left side of the palm tree cluster cloer to 9B. | Bob completed, replaced bulbs | 2023-01-11 | 2023-01-11
2023-01-10 | 33H | Elena Kissin | Electrical | Light bulbs | Other | Light above the stairs is out. As weell as in unit 33G. | Ben replaced light bulbs. | 2023-01-11 | 2023-01-11
2023-01-10 | 16H | Susan Ayer | Grounds/Landscaping | Pressure Washing | Other | Pressing washing of unit needed on stairs and courtyard | Bob completed. | 2023-01-12 | 2023-01-12
2023-01-11 | 6C | Joe LaForgia | Grounds/Landscaping | Courtyard | Other | Blow leaves off steps and courtyard 6 A-D | Ben completed | 2023-01-12 | 2023-01-12
2023-01-12 | 33A | Ruth Lombardo | Electrical/Light Bulbs | Building/Courtyard | Other | Broken light/wires exposed | Ben/Bob replaced | 2023-01-12 | 2023-01-12
2023-01-12 | 23G | Eileen Del Giudice | Other | Clubhouse | Other | A/C in gym not working. Set on LOCK. | Manatee Air came out, completed | 2023-01-12 | 2023-01-12
2023-01-13 | 24 | Bob Maintenance | Grounds/Landscaping | Building/Courtyard | Other | Ground light photo cell broken | Bob replaced photo cell | 2023-01-13 | 2023-01-13
2023-01-13 | 19G | John Mosteller | Grounds/Landscaping | Courtyard | Other | Plam leaves pressing against lanai screen, possible cutting the screen. | Ben cut palm leaves | 2023-01-13 | 2023-01-13
2023-01-13 | 5F | William Boychuk | Electrical/Light Bulbs | Light bulbs | Other | Please replace carport light bulb on right side of east end. | Bob replaced. | 2023-01-16 | 2023-01-16
2023-01-15 | 21A & 24G | Judy Hundley | Grounds/Landscaping | Storage Sheds | Other | Please replace the 2 storage ventgs that are located at 21A area and 24G area. Pictures were emailed. | Bob cleaned and repainted vents | 2023-01-16 | 2023-01-16
2023-01-15 | 27D | William Caples | Grounds/Landscaping | Clubhouse | Other | Car bumpers need attention. One is broken in the front of clubhouse. | Bob painted all curbs | 2023-01-16 | 2023-01-16
2023-01-26 | 32G | Suzie Mandsager | Grounds/Landscaping | Building/Courtyard | Other | Spa clock not working | Bob replaced, fixed hands | 2023-01-16 | 2023-01-16
2023-02-25 | 5F | William Boychuk | Grounds/Landscaping | Building/Courtyard | Other | Please blow oak leaves from courtyard, carport street and sidewalks and landscape area between carport 5 and 6 and mailbox area | Brightview completed | 2023-02-25 | 2023-02-25
2023-03-03 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Paint | Red Bridge painting - 2nd request | Ben completed | 2023-03-09 | 2023-03-09
2023-03-03 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Paint | Red Bridge painting - 2nd request | Pending | 2023-03-09 | 2023-03-09
2023-03-09 | 8B | Lois Vasto | Electrical light | Light bulbs | Other | Light outside courtyard needs replacement | Ben completed | 2023-03-09 | 2023-03-09
2023-03-09 | 8B | Lois Vasto | Grounds/Landscaping | Common Grounds | Other | Bush outside backdoor needs trimming | Bod trimmed bush back | 2023-03-09 | 2023-03-09
2023-03-09 | 8B | Lois Vasto | Electrical light | Light bulbs | Other | Light outside courtyard needs replacement | Ben replaced | 2023-03-09 | 2023-03-09
2023-03-09 | 8B | Lois Vasto | Grounds/Landscaping | Common Grounds | Other | Bush outside backdoor needs trimming | Bob trimmed bushes | 2023-03-09 | 2023-03-09
2023-03-09 | 9C | Cathy Harris | Electrical | Common Grounds | Other | Carport light on 9 has a bad bulb | Ben replaced buld - put new wall unit on | 2023-03-09 | 2023-03-09
2023-03-13 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Lake | Low lake level | Solitude to come out and check | 2023-03-23 | 2023-03-23
2023-03-13 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Other | Replace landscape garbage can | Ben completed | 2023-03-23 | 2023-03-23
2023-03-13 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Lake | Low lake level | Solitude to come out and check | 2023-03-13 | 2023-03-13
2023-03-13 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Other | Replace landscape garbage can | completed | 2023-03-13 | 2023-03-13
2023-03-13 | 3A | Bruce Witte | Other | Building | Other | Ceiling leak in upstairs porch - complaint for 3 years | Crown repaired | 2023-03-13 | 2023-04-04
2023-03-14 | 12D | Betty Taverna | Electrical light | light fixture | Other | Gound right center light out | Bob replaced | 2023-04-07 | 2023-04-07
2023-03-14 | 12D | Betty Taverna | Electrical light | light fixture | Other | Balcony light damaged in Hurricane | Ben replaced bulb | 2023-03-14 | 2023-03-14
2023-03-16 | 27H | Ingrid Laszlo | Electrical light | Light bulbs | Other | Check electric outside front gate | Need electrician | 2023-03-23 | 2023-03-23
2023-03-16 | 27H | Ingrid Laszlo | Grounds/Landscaping | Irrigation | Other | Evaluate irrigation outside front gate | Talk with Brightview | 2023-03-23 | 2023-03-23
2023-03-16 | 27H | Ingrid Laszlo | Electrical light | Light bulbs | Other | Check electric outside front gate | Need electrician | 2023-04-11 | 2023-04-11
2023-03-16 | 27H | Ingrid Laszlo | Grounds/Landscaping | Irrigation | Other | Evaluate irrigation outside front gate | Talk with Brightview | 2023-04-11 | 2023-04-11
2023-03-21 | 22H | Mehmed Duric | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-03-28 | 2023-03-29
2023-03-21 | 22H | Mehmed Duric | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-03-28 | 2023-03-29
2023-03-22 | 32F | Edward Reilly | Other | Building | Other | Support beam under balcony of 32H needs painted. | Ben painted support beam | 2023-03-14 | 2023-03-14
2023-03-24 | 23H | Karen Indri | Grounds/Landscaping | Building/Courtyard | Other | Pressure wash and Paint stairway | Completed by Ben | 2023-03-28 | 2023-03-29
2023-03-24 | 23H | Karen Indri | Grounds/Landscaping | Building/Courtyard | Other | Pressure wash and Paint stairway | Completed by Ben | 2023-03-28 | 2023-03-29
2023-03-26 | 30A | Phyllis Sellers | Electrical light | Light bulbs | Other | Courtyard post needs new bulb | Complete per Ben | 2023-03-28 | 2023-03-28
2023-03-26 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Trees | Palms/Hardwoods hitting canopy - 11/22 | Ben trimmed palms/tree | 2023-03-26 | 2023-03-26
2023-03-26 | 6C | Joe LaForgia | Electrical light | Light bulbs | Other | Repair light at Pond | Bob completed | 2023-03-28 | 2023-03-28
2023-03-26 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Other | Canopy above garbage pails 6A missing bolt | Ben completed |  | Pending
2023-03-26 | 30A | Phyllis Sellers | Electrical light | Light bulbs | Other | Courtyard post needs new bulb | Complete per Ben | 2023-03-28 | 2023-03-28
2023-03-26 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Trees | Palms/Hardwoods hitting canopy - 11/22 | Ben cut back trees | 2023-03-26 | 2023-03-26
2023-03-26 | 6C | Joe LaForgia | Electrical light | Light bulbs | Other | Repair light at Pond | Bob completed | 2023-03-28 | 2023-03-28
2023-03-26 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Other | Canopy above garbage pails 6A missing bolt | Advised Steve Barnum to add to list | 2023-03-26 | 2023-03-26
2023-03-27 | 17D | Terry Ruff | Other | Other | Other | Grill not heating | Complete per Ben - adjusted igniter | 2023-03-27 | 2023-03-27
2023-03-27 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Other | Shells by garbage crib and lanai windows | Bob completed | 2023-03-30 | 2023-03-30
2023-03-27 | 23H | Karen Indri | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-03-28 | 2023-03-29
2023-03-27 | 26H | Foreclosure | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-03-28 | 2023-03-29
2023-03-27 | 27D | Bill Caples | Grounds/Landscaping | Common Grounds | Other | Paint lamp post in main drive | completed | 2023-03-28 | 2023-03-28
2023-03-27 | 17D | Terry Ruff | Other | Other | Other | Grill not heating | Complete per Ben - adjusted igniter | 2023-03-27 | 2023-03-27
2023-03-27 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Other | Shells by garbage crib and lanai windows | Bob completed | 2023-03-30 | 2023-03-30
2023-03-27 | 23H | Karen Indri | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-03-28 | 2023-03-29
2023-03-27 | 26H | Foreclosure | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-03-28 | 2023-03-29
2023-03-27 | 27D | Bill Caples | Grounds/Landscaping | Common Grounds | Other | Paint lamp post in main drive | Pending | 2023-04-11 | 2023-04-11
2023-03-28 | 8D | Agnes Poltorak-Lewis | Other | Building | Other | Remove carpet from porch to inspect | Complete per Bob | 2023-03-30 | 2023-03-30
2023-03-28 | 27B | Valerie Harvey | Grounds/Landscaping | Irrigation | Other | Adjust sprinkle head left side of bldg 27 | Ben completed | 2023-03-30 | 2023-03-30
2023-03-28 | 26A | Linda Lang | Grounds/Landscaping | Irrigation | Other | Grass between 26A-D dying | Gave work order to Bob | 2023-03-28 | 2023-03-28
2023-03-28 | 8D | Agnes Poltorak-Lewis | Other | Building | Other | Remove carpet from porch to inspect | Complete per Bob | 2023-03-30 | 2023-03-30
2023-03-28 | 27B | Valerie Harvey | Grounds/Landscaping | Irrigation | Other | Adjust sprinkle head left side of bldg 27 | Bob completed | 2023-03-30 | 2023-03-30
2023-03-28 | 26A | Linda Lang | Grounds/Landscaping | Fountain | Other | After rain fountain in courtyard has too much water in it. | Bob vaccumed out water | 2023-04-11 | 2023-04-11
2023-03-29 | 10B | John Anderson | Grounds/Landscaping | Courtyard | Other | Courtyard pavers rising | Bob completed | 2023-03-30 | 2023-03-30
2023-03-29 | 10B | John Anderson | Grounds/Landscaping | Courtyard | Other | Courtyard pavers rising | Bob completed | 2023-03-30 | 2023-03-30
2023-03-30 | 32G | Suzie Mandsager | Other | Clubhouse | Other | Blue chairs need L bracket to secure | Complete per Ben | 2023-03-30 | 2023-03-30
2023-03-30 | 12B | Tom Sweeney | Grounds/Landscaping | Common Grounds | Tree | Large tree across from bldg 25 needs removal | Ben completed | 2023-04-04 | 2023-04-04
2023-03-30 | 32G | Suzie Mandsager | Other | Clubhouse | Other | Blue chairs need L bracket to secure | Complete per Ben | 2023-03-30 | 2023-03-30
2023-03-30 | 12B | Tom Sweeney | Grounds/Landscaping | Common Grounds | Tree | Large tree across from bldg 25 needs removal | Bob completed | 2023-04-04 | 2023-04-04
2023-03-31 | 28/29 | Judy Hundley | Grounds/Landscaping | Building/Courtyard | Other | Place shells between buildings | Installed | 2023-04-04 | 2023-04-04
2023-03-31 | 32C | Pam Britt | Other | Building | Other | Paint area of bldg where new AC line installed | Complete per Ben | 2023-03-31 | 2023-03-31
2023-03-31 | 26F | Ron Schmutzler | Grounds/Landscaping | Common Grounds | Other | Powerwash sidewalk by mailbox Bldg 25/26 | Bob pressure washed | 2023-03-31 | 2023-03-31
2023-03-31 | 28/29 | Judy Hundley | Grounds/Landscaping | Building/Courtyard | Other | Place shells between buildings | Installed | 2023-04-04 | 2023-04-04
2023-03-31 | 32C | Pam Britt | Other | Building | Other | Paint area of bldg where new AC line installed | Complete per Ben | 2023-03-31 | 2023-03-31
2023-03-31 | 6C | Joe LaForgia | Grounds/Landscaping | Common Grounds | Trees | Palms/Hardwoods hitting canopy - 2nd request | Ben trimmed palms/tree | 2023-03-31 | 2023-03-31
2023-03-31 | 26F | Ron Schmutzler | Grounds/Landscaping | Common Grounds | Other | Powerwash sidewalk by mailbox Bldg 25/26 | Bob pressure washed | 2023-03-31 | 2023-03-31
2023-04-01 | 14H | Jean Nesian | Grounds/Landscaping | Building/Courtyard | Other | Pressure wash and Paint stairway | Completed by Bob | 2023-04-04 | 2023-04-05
2023-04-01 | 14H | Jean Nesian | Grounds/Landscaping | Building/Courtyard | Other | Various plant trimming | Complete per Ben | 2023-03-31 | 2023-03-31
2023-04-01 | 28H | Leela Benford | Grounds/Landscaping | Courtyard | Trees | Trim top layer of tall bush/tree by stairs | Completed by Franc Brightview | 2023-04-11 | 2023-04-11
2023-04-01 | 28H | Leela Benford | Grounds/Landscaping | Courtyard | Trees | Trim lower fonts on palm between 2 windows | Completed by Frank Brightview | 2023-04-11 | 2023-04-11
2023-04-01 | 14H | Jean Nesian | Grounds/Landscaping | Building/Courtyard | Other | Pressure wash and Paint stairway | Completed by Bob | 2023-04-04 | 2023-04-05
2023-04-01 | 14H | Jean Nesian | Grounds/Landscaping | Building/Courtyard | Other | Various plant trimming | Complete per Ben | 2023-03-31 | 2023-03-31
2023-04-01 | 28H | Leela Benford | Grounds/Landscaping | Courtyard | Trees | Trim top layer of tall bush/tree by stairs | Ben trimmed bushes/tree | 2023-04-01 | 2023-04-01
2023-04-01 | 28H | Leela Benford | Grounds/Landscaping | Courtyard | Trees | Trim lower fonts on palm between 2 windows | Ben trimmed palm fronds | 2023-04-01 | 2023-04-01
2023-04-02 | 10E | Bev Gorman | Grounds/Landscaping | Common Grounds | Other | Bldg 10E needs lawn repair | Ben completed. | 2023-03-31 | 2023-03-31
2023-04-02 | 10E | Bev Gorman | Grounds/Landscaping | Common Grounds | Other | Bldg 10E needs lawn repair | Pending/Landscape Committee | 2023-03-31 | 2023-03-31
2023-04-03 | 32G | Suzie Mandsager | Grounds/Landscaping | Common Grounds | Pool | Trim Shrubs inside fence | Bob trimmed shrubs | 2023-04-04 | 2023-04-04
2023-04-03 | 18D | Jim Seyfried | Grounds/Landscaping | Common Grounds | Other | Broken curb near gate | Unable to fix | 2023-04-03 | 2023-04-03
2023-04-03 | 32G | Suzie Mandsager | Grounds/Landscaping | Common Grounds | Pool | Trim Shrubs inside fence | Bob trimmed shrubs | 2023-04-04 | 2023-04-04
2023-04-03 | 18D | Jim Seyfried | Grounds/Landscaping | Common Grounds | Other | Broken curb near gate | Unable to fix | 2023-04-03 | 2023-04-03
2023-04-03 | 17D | Terry Ruff | Set Up Grill Nite/Band | Clubhouse | Other | Need set up 7 round tables with charis outside/grills out | Bob set up | 2023-04-03 | 2023-04-03
2023-04-04 | 12B | Tom Sweeney | Grounds/Landscaping | Other | Other | Holes in fence across from Bldg 11 | Bob patched hole | 2023-04-04 | 2023-04-04
2023-04-04 | 18D | Jim Seyfried | Electrical/Light Bulbs | Light bulbs | Other | Light over 18D entrance & back of bldg 19 | replaced lights | 2023-04-03 | 2023-04-03
2023-04-04 | 20H | Jean O'Connell | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob pressure washed | 2023-04-04 | 2023-04-04
2023-04-04 | 32C | Pam Britt | Grounds/Landscaping | Building | Pest | Hornets nest outside 32C lanai | Ben removed wasp nest | 2023-04-04 | 2023-04-04
2023-04-04 | 14A | Jo-Ann D'Amico | Grounds/Landscaping | Fountain | other | Fountain leaning - water not flowing properly | Bob shimmed fountain | 2023-04-04 | 2023-04-04
2023-04-04 | 12B | Tom Sweeney | Grounds/Landscaping | Other | Other | Holes in fence across from Bldg 11 | Bob patched hole | 2023-04-04 | 2023-04-04
2023-04-04 | 17G | Maureen B | Poetry Event Set up | Clubhouse | Other | Set up for Poetry Event for social committee | Bob set up | 2023-04-04 | 2023-04-04
2023-04-04 | 18D | Jim Seyfried | Electrical/Light Bulbs | Light bulbs | Other | Light over 18D entrance & back of bldg 19 | replaced lights | 2023-04-03 | 2023-04-03
2023-04-04 | 20H | Jean O'Connell | Grounds/Landscaping | Courtyard | Stair | Powerwash and paint stairs | Bob completed | 2023-04-04 | 2023-04-04
2023-04-04 | 32C | Pam Britt | Grounds/Landscaping | Building | Pest | Hornets nest outside 32C lanai | Bob removed nest | 2023-04-04 | 2023-04-04
2023-04-04 | 14A | Jo-Ann D'Amico | Grounds/Landscaping | Fountain | other | Fountain leaning - water not flowing properly | Ben repaired/fixed issue | 2023-04-04 | 2023-04-04
2023-04-04 | 17H | Jude Daigle | Other | Building/Courtyard | Other | Presssure wash front steps and courtyard | Bob pressure washed | 2023-04-05 | 2023-04-05
2023-04-05 | 3H | Maintenance | Grounds/Landscaping | Common Grounds | Paint | Paint port hole 3H | Ben completed | 2023-04-05 | 2023-04-05
2023-04-05 | 30A | Phyllis Sellers | Electrical light | Light bulbs | Other | Light left side courtyard post | Bob replaced bulb | 2023-04-05 | 2023-04-05
2023-04-05 | 30A | Phyllis Sellers | Electrical light | Light bulbs | Other | Light above entrance to 30C | Bob replaced bulb | 2023-04-05 | 2023-04-05
2023-04-05 | 3H | Maintenance | Grounds/Landscaping | Common Grounds | Paint | Paint port hole 3H | Ben completed | 2023-04-05 | 2023-04-05
2023-04-05 | 30A | Phyllis Sellers | Electrical light | Light bulbs | Other | Light left side courtyard post | Ben replaced light bulbs. | 2023-04-05 | 2023-04-05
2023-04-05 | 30A | Phyllis Sellers | Electrical light | Light bulbs | Other | Light above entrance to 30C | Ben replaced bulb | 2023-04-05 | 2023-04-05
2023-04-05 | 4G | Pam Britt | Electrical | Light bulbs | Light | replace light bulb | Ben replaced | 2023-04-05 | 2023-04-05
2023-04-05 | 20A | Pam Britt | Electrical | light bulbs | light | replace light bulb | Ben replaced | 2023-04-05 | 2023-04-05
2023-04-06 | Office | Chieko | Other | Clubhouse | Other | Please put WD 40 on the door hinges to sauna | Bob put WD 40 on hinges | 2023-04-06 | 2023-04-06
2023-04-06 | 10C | Ben | Other | Other | Port Hole | Port holes need painted | Ben painted port holes | 2023-04-06 | 2023-04-06
2023-04-06 | 8E | Bob | Other | Common Grounds | light | Ground light out | Bob replaced bulb | 2023-04-06 | 2023-04-06
2023-04-07 | 9H | Bob | Electrical/Light Bulbs | Common Grounds | light | Column lights out | Bob replaced bulb | 2023-04-07 | 2023-04-07
2023-04-07 | 12B | Bob | Electrical/Light Bulbs | Common Grounds | light | Gound light out right side | Bob replaced bulb | 2023-04-07 | 2023-04-07
2023-04-07 | 16D | Bob | Electrical/Light Bulbs | Common Grounds | light | Wall light out | Bob replaced bulb | 2023-04-07 | 2023-04-07
2023-04-10 | 22G | Ben | Electrical/Light Bulbs | Light bulbs | Other | Ground light out back of building needs replaced | Ben replaced | 2023-04-10 | 2023-04-10
2023-04-10 | 2H | Bob | Electrical/Light Bulbs | Common Grounds | Light | Gound light out | Bob replaced | 2023-04-10 | 2023-04-10
2023-04-10 | 28A | Bill Caples | Other | Common Grounds | Other | Remove wasp nest 28A carport | Bob removed nest | 2023-04-10 | 2023-04-10
2023-04-10 | 28A | Bill Caples | Other | Building/Courtyard | Other | Clen out downspout | Bob cleaned out | 2023-04-10 | 2023-04-10
2023-04-10 | 8B | Ben | Electrical/Light Bulbs | Building/Courtyard | Light | Replaced ground lights in courtyard | Ben replaced bulb | 2023-04-10 | 2023-04-10
2023-04-10 | 21H | Ben | Electrical/Light Bulbs | Building/Courtyard | Light | Replaced ground lights in courtyard | Ben replaced bulb | 2023-04-10 | 2023-04-10
2023-04-10 | 27B | Ben | Grounds/Landscaping | Building/Courtyard | other | Sprinkler head needs adjusting. | Ben found 2 of 3 heads that were in need of adjustment. Complete | 2023-04-10 | 2023-04-10
2023-04-10 | 17D | Terry Ruff | Other | Clubhouse | Bingo | Set up for Bingo night | Bob set up | 2023-04-14 | 2023-04-14
2023-04-11 | 32G | Suzie Mandsager | Grounds/Landscaping | Pool Grounds | Light | Flood light pool grounds | Bob replaced lights | 2023-04-13 | 2023-04-13
2023-04-11 | 11E | Rob Herner | Electrical/Light Bulbs | Building/Courtyard | light | Front ground light needs replaced | Bob replaced bulb | 2023-04-11 | 2023-04-11
2023-04-11 | 21E | Debra Carey | Irrigation | Courtyard | sprinkler | Sprinkler head, pond side next to screen door | Ben replaced head | 2023-04-11 | 2023-04-11
2023-04-11 | 14A | Bob | Electrical/Light Bulbs | Common Grounds | light | Ground light broen by lake behind 14 | Bob replaced fixture | 2023-04-11 | 2023-04-11
2023-04-11 | 2F | Tabitha Hall | Gounds/Landscaping | Common Grounds | Other | Please clean privacy garden from gutter cleaning | Bob blew off | 2023-04-12 | 2023-04-12
2023-04-11 | 33A | Chieko | Gounds/Landscaping | Common Grounds | other | Please cut the dead branches off in the center crescent and remove dead branches. | Bob removed branches | 2023-04-12 | 2023-04-12
2023-04-11 | 31G | Chieko | Grounds/Landscaping | Common Grounds | Other | Please remove tiles from privacy gardent to the maintenance area | Bob removed tiles | 2023-04-12 | 2023-04-12
2023-04-11 | 3E | Nan Schreier | other | Common Grounds | Other | Fountain stopped working | Bob reset breaker | 2023-04-11 | 2023-04-11
2023-04-12 | 9C | Cathy Harris | Electrical/Light Bulbs | Light bulbs | Other | 2 Landscape lights have been out for months 9A and 9B. One is located near the cluster of low bushes close to the pond in the sight line of 9A. The other s on the left side of the palm tree cluster cloer to 9B. | Bob completed, replaced bulbs | 2023-04-12 | 2023-04-12
2023-04-12 | 32G | Suzie Mandsager | Other | Other | Other | Grey box in ground behind berm across street from carport 4 needs removed and filled with dirt and take garbage out. | Bob said it has a shut off valve for water and cannot be removed | 2023-04-12 | 2023-04-12
2023-04-12 | 16A | Dennis Smith | Gounds/Landscaping | Common Grounds | Other | Trim branches off of wall & privacy garden | Bob removed branches | 2023-04-12 | 2023-04-12
2023-04-12 | 32G | Suzie Mandsager | Grounds/Landscaping | Common Grounds | Other | loose wire on ground behind bldg 25 | Bob removed wire | 2023-04-12 | 2023-04-12
2023-04-12 | 11B | Ann Huhn | Gounds/Landscaping | Common Grounds | other | sprinklers went out. | Ben found no issues. | 2023-04-12 | 2023-04-12
2023-04-12 | 6C | Joe LaForgia | Fountain | Common Grounds | Fountain | Status of Lake 1 | Solitude to come installed underground pipe to pull water from lake 2 to fill lake 1 | 2023-04-12 | 2023-04-12
2023-04-13 | 18D | Jim Seyfried | Electrical/Light Bulbs | Common Grounds | Light | Between bldg. 21-22 near rear pond edge light out | Bob replaced bulb | 2023-04-19 | 2023-04-19
2023-04-13 | 18D | Jim Seyfried | Grounds/Landscaping | Common Grounds | Other | Bldg 21H front & side of steps between pvt garden and stairs palm branch blocking gate ofn stairs | Bob removed branches | 2023-04-19 | 2023-04-19
2023-04-14 | 23B | Annette Devoe | Gounds/Landscaping | Common Grounds | other | Please remove all tree debris from top roof of carport 23 | Ben removed all tree debris from roof of carport 23 | 2023-04-12 | 2023-04-14
2023-04-14 | 32G | Suzie Mandsager | Grounds/Landscaping | Common Grounds | Pool | Need to purchase a new flip top trash container by the pool shower. | Cindy ordered online | 2023-04-14 | 2023-04-14
2023-04-14 | 32G | Suzie Mandsager | Grounds/Landscaping | Common Grounds | pool | Drain pool shower walk way needs cleaned out | Bob snaked drained | 2023-04-18 | 2023-04-18
2023-04-14 | Office | Management | Grounds/Landscaping | Common Grounds | Other | Drains for street run off need to be cleaned of pine needles and sticks. | Bob removed pine needles | 2023-04-16 | 2023-04-15
2023-04-16 | 21D | Marie Deegan | Grounds/Landscaping | Common Grounds | other | The drain across carport 21 is completely blocked and has been for sometime. Please remove pine needles. | Bob removed pine needles | 2023-04-18 | 2023-04-17
2023-04-16 | 12B | Tom Sweeney | Grounds/Landscaping | Common Grounds | Other | Irrigation needs to be adjusted | Bob installed head | 2023-04-17 | 2023-04-17
2023-04-17 | 27D | Bonnie Caples | Electrical/Light Bulbs | Common Grounds | Courtyard | Courtyard 27 A-D the ilght is blinking on the left side of the bushes as you enter the courtyard. | Bob replaced bulb | 2023-04-17 | 2023-04-17
2023-04-18 | 3E | Nan Schreier | Electrical/Light Bulbs | Building/Courtyard | Light | The right spotlight against the back wall of our courtyard is flashing. It is on the post where the switch for the fountain is located. | Bob replaced bulb | 2023-04-18 | 2023-04-18
2023-04-19 | 28 | Bill Caples | Grounds/Landscaping | Building/Courtyard | Other | Wasp nest under carporrt 28 | Bob removed | 2023-04-19 | 2023-04-19
2023-04-19 | 3E | Nan Schreier | Other | Building/Courtyard | Other | downspouts 2A rear, 3a left side bracket coming off, 5A left side piping cracked, 7A left side piping is seperating, 8F black pipe missing | Bob fixed | 2023-04-19 | 2023-04-19
2023-04-19 | 29H | Sharon Hurlds | Gounds/Landscaping | Common Grounds | Other | Tree sheds fronds daily, especially after storsm and causes a mess. Please pick up fronds as needed. | Bob picked up fronds and will drive by on weekly basis to check to see if needs fronds picked up | 2023-04-19 | 2023-04-19
2023-04-20 | 3E | Nan Schreier | Grounds/Landscaping | Common Grounds | Other | Continuing gutter and downspouts inspectors 27F | Bob removed plant | 2023-04-21 | 2023-04-21
2023-04-20 | 10B | Barbara Anderson | Grounds/Landscaping | Common Grounds | Other | Pavers lifting up located at entrance to courtyard left side of sidewalk | Bob removed root | 2023-04-21 | 2023-04-21
2023-04-21 | bldg 2 | John Anderson | Grounds/Landscaping | Building/Courtyard | Other | Patch holes where Owens worked on yesterday. | Bob patched holes | 2023-04-21 | 2023-04-21
2023-04-21 | 24D | Eileen Parenteau | Irrigation | Common Grounds | Other | Sprinkler missing head large stream of water fhooting up and close to building 24D. | Bob fixed head | 2023-04-24 | 2023-04-25
2023-04-21 | 4A | james Scherz | Grounds/Landscaping | Common Grounds | Other | Please trim small palms in courtyard 4 | Bob Trimmed palms | 2023-04-21 | 2023-04-21
2023-04-24 | 18D | Jim Seyfried | Grounds/Landscaping | Common Grounds | Other | Fountain Lake #4 not working property sometimes not at all | Bob checked timer | 2023-04-25 | 2023-04-25
2023-04-24 | 18D | Jim Seyfried | Electrical/Light Bulbs | Building/Courtyard | Other | Landscape light in center landscape light right side missing needs new bulb | Bob replaced bulb | 2023-04-24 | 2023-04-24
2023-04-25 | 1A | Bob | Grounds/Landscaping | Common Grounds | Other | Paint chains and add screws to hook on garbage bin areas | Bob painted chains in garbage crib area | 2023-04-25 | 2023-04-25
2023-04-25 | Build | Office | Grounds/Landscaping | Building/Courtyard | Other | Bob pressure washed 28H stairs before painting | Bob pressure washed | 2023-04-25 | 2023-04-25
2023-04-25 | 24B | Tom Greer | Electrical/Light Bulbs | Common Grounds | Other | All courtyard lights in unit 24A-D are out | Bob reset breaker | 2023-04-27 | 2023-04-27
2023-04-26 | Build | Office | Grounds/Landscaping | Building/Courtyard | Other | Paint Stairs | Bob painted stairs | 2023-04-26 | 2023-04-26
2023-04-26 | 24A-D | Tom Greer | Grounds/Landscaping | Common Grounds | Other | deep tire rut in small patch of grass directly across from units 24A-D. Safety hazard. | Bob filled with sand | 2023-04-26 | 2023-04-26
2023-04-26 | 22E | Susan Maloof | Electrical/Light Bulbs | Building/Courtyard | Other | center planter box left light not working | bob replaced bulb | 2023-04-27 | 2023-04-27
2023-04-26 | 19C | Diane Massa | Electrical/Light Bulbs | Common Grounds | Other | Light over left staircase was blinking last week almost out of light | Bob replaced bulb | 2023-04-27 | 2023-04-27
2023-04-26 | 24C | Donald Struble | Electrical/Light Bulbs | Common Grounds | Other | The entire circuit for the courtyard is out and it is really dark over there. | Bob reset breaker | 2023-04-27 | 2023-04-27
2023-04-27 | 3E | Nan Schreier | Grounds/Landscaping | Building/Courtyard | Other | Gutter inspections, bldg 22 has a hose missing on the downspout on the left front of the building | Bob cannot change, that all it has | 2023-04-27 | 2023-04-27
2023-04-27 | 3E | Nan Schreier | Gounds/Landscaping | Building/Courtyard | Other | Buidling 21 has a detached gutter by the AC units, also appearded to be clogged. | Bob cleaned out pipe and attached hose cleaned out | 2023-04-28 | 2023-04-28
2023-04-27 | 19C | Diane Massa | Other | Building/Courtyard | Other | Outdoor balcony from master bathroom and den are leaking on the unit below. | Steve B and Bob sealed balcony | 2023-04-27 | 2023-04-27
2023-04-28 | 2A | Judy Hundley | Gounds/Landscaping | Common Grounds | Other | Shorten hose by 2A as well as the sides and back rear hose detached. | B&M repaired | 2023-05-08 | 2023-05-08
2023-04-29 | 29G | Judy Hundley | Work Order | Clubhouse | Other | Arbor grill nite set up tables | Bob set up tables/chairs | 2023-04-28 | 2023-04-28
2023-04-29 | 29F | Margaret Robinson | Electrical/Light Bulbs | Carport | Other | Carport light out between condo cars spots F&H | Bob replaced light | 2023-05-01 | 2023-05-01
2023-04-30 | 24B | Tom Greer | Grounds/Landscaping | Common Grounds | Other | The terrain behind my lanai slopes towards thebldg. During moderato to heavy rains water enter my lanai | Bob & Matt put sand and rocks down in front of lanai | 2023-05-03 | 2023-05-23
2023-05-01 | 23G | Eileen del Giudice | Grounds/Landscaping | Common Grounds | Other | Please have someone drain the non working fountain in courtyard 23 E-F | Bob & Matt drained | 2023-05-01 | 2023-05-01
2023-05-01 | 3H | John Knudsen | Electrical/Light Bulbs | Common Grounds | Other | Lamp post light in pool area the the sencond one once you enter from the South gate is out | Bob replaced bulb | 2023-05-04 | 2023-05-04
2023-05-02 | 11H | Vacant | Gounds/Landscaping | Common Grounds | Other | Pressure wash stairway - prep for painting | Bob pressure washed | 2023-05-03 | 2023-05-03
2023-05-02 | 11H | Vacant | Gounds/Landscaping | Common Grounds | Other | Paint Stairs | Matt painted stairs | 2023-05-03 | 2023-05-03
2023-05-02 | ALL | Chieko | Grounds/Landscaping | Common Grounds | Other | Clean out all waterfalls | Bob & Matt clenaed waterfalls | 2023-05-03 | 2023-05-03
2023-05-03 | 2E | Dorothy Cushman | Grounds/Landscaping | Common Grounds | Other | Fountain in E-H courtyard is not level, which is causing operational issues | Bob & Matt Leveled fountain | 2023-05-03 | 2023-05-03
2023-05-03 | 28A | Bob | Electrical/Light Bulbs | Building/Courtyard | Other | Post light out | Bob & matt replaced light | 2023-05-03 | 2023-05-03
2023-05-03 | 23A | Bob | Electrical/Light Bulbs | Common Grounds | Other | Carport light out between condo cars spots F&H | Bob & matt replaced light | 2023-05-03 | 2023-05-03
2023-05-03 | 22A | Bob | Electrical/Light Bulbs | Common Grounds | Other | Ground light out | Bob & matt replaced light | 2023-05-03 | 2023-05-03
2023-05-03 | 11F | Powers | Electrical/Light Bulbs | Common Grounds | Other | Ground light must be replaced by pond 2 behind 11F | Bob replaced light | 2023-05-09 | 2023-05-09
2023-05-04 | 3E | Nan Schreier | Gounds/Landscaping | Common Grounds | Other | Sprinkler head by the storage closets in front of building 20 AB is laying on the sidewalk. | Bob & Matt reinstalled | 2023-05-04 | 2023-05-04
2023-05-04 | 10B | John Anderson | Electrical/Light Bulbs | Common Grounds | Other | Lamp post left top of lamp cover found on ground | Bob replaced top and bulb | 2023-05-05 | 2023-05-05
2023-05-05 | 4A | James Scherz | Grounds/Landscaping | Common Grounds | Other | low tree branches over common sidewalk near courtyard 4 A-D possible hazard to vehicles and people | Bob and Matt trimmed trees | 2023-05-05 | 2023-05-05
2023-05-05 | 27H | Ingrid Laszlo | Gounds/Landscaping | Common Grounds | Other | Pond 2 behind 12-14 there are several dead branches left over from hurricane floatin at the pond edge | Paul picked all of them up | 2023-05-09 | 2023-05-09
2023-05-05 | 10B | John Anderson | Electrical/Light Bulbs | Common Grounds | Other | Exposed wire near pond and back of unit 10B near big rock | B&M put black pipe over it | 2023-05-09 | 2023-05-09
2023-05-05 | 27H | Ingrid Laszlo | Irrigation | Common Grounds | other | Between 27 and 26 just short of the garbage crib is an irrigation head in front of the a/c units on the 26 side which is of no use. Not sure it works but it would water a/c units and shells only. Probably should be removed. | B&M removed head caped off | 2023-05-08 | 2023-05-08
2023-05-06 | 28H | Leela Benford | Grounds/Landscaping | Common Grounds | Other | There are sticks still around the area and unsafe to walk still from the hurricane | Bob & matt picked up sticks | 2023-05-08 | 2023-05-08
2023-05-06 | 10B | John Anderson | Electrical/Light Bulbs | Common Grounds | Other | Lights broken long pond | B&M fixed lights | 2023-05-08 | 2023-05-08
2023-05-08 | 10A | Bob | Plumbing | Common Grounds | Other | Pipe broke behind 10 fixed pipe | Bod & Matt repaired pipe | 2023-05-08 | 2023-05-08
2023-05-08 | 10E | Bev Gorman | Grounds/Landscaping | Common Grounds | Other | Please replace the wooden tree stake supporting the hibiscus tree 10E courtyard | Bob replaced with metal stake | 2023-05-08 | 2023-05-08
2023-05-08 | 19D | Bonnie Szink | Other | Clubhouse | Other | Set up for succulents, sweets and treats social committee | B&M set up in clubhouse | 2023-05-11 | 2023-05-11
2023-05-08 | 8D | Agnes Poltorak-Lewis | Gounds/Landscaping | Building/Courtyard | Other | Pressure washed stairs | Bob pressure washed | 2024-05-23 | 2024-05-23
2023-05-08 | 8D | Agnes Poltorak-Lewis | Grounds/Landscaping | Building/Courtyard | Other | Paint Stairs | Matt painted stairs | 2023-05-24 | 2023-05-24
2023-05-09 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | pine needles by bird of paradisebush and from the hose area left of 29F need cleaned out | Matt cleaned pine needles by gutter and bird of paradise. | 2023-05-09 | 2023-05-09
2023-05-09 | 14A | Bob | Electrical/Light Bulbs | Common Grounds | other | Light fixture missing 2 lights bldg 14 | Bob Replaced light fixtures | 2023-05-09 | 2023-05-09
2023-05-09 | 30C | Bob | Grounds/Landscaping | Building/Courtyard | Other | Bob pressure washed 30C stairs before painting | Pressure washed 30C | 2023-05-09 | 2023-05-09
2023-05-10 | 30C | Matt | Grounds/Landscaping | Building/Courtyard | Other | 30C paint stairs | Matt painted stairs 30C | 2023-05-09 | 2023-05-09
2023-05-11 | Behind 29 | Ingrid Laszlo | Grounds/Landscaping | Common Grounds | Other | Please pick up 4 barrels of debris behind bldg 29 | Matt dropped off barrelsand picked up full ones | 2023-05-11 | 2023-05-11
2023-05-11 | 22A | Richard Becker | Grounds/Landscaping | Building/Courtyard | Other | Fountain in courtyard is not working | Matt reset GFI button | 2023-05-11 | 2023-05-11
2023-05-11 | 29G | Judy Hundley | Grounds/Landscaping | Building/Courtyard | Other | Old Drain stap needs removed and fill the hole with caulking same color as the building located in the back of bldg 25. | Removed strap & painted wall | 2023-05-11 | 2023-05-11
2023-05-11 | 4F | Keller | Electrical/Light Bulbs | Building/Courtyard | Other | Ground light out | Replaced bulb | 2023-05-11 | 2023-05-11
2023-05-11 | 12E | Debra Carey | Gounds/Landscaping | Common Grounds | Other | Piles of dead branches near bldg 20-21 on the outer rim. | B&M removed piles | 2023-05-11 | 2023-05-11
2023-05-11 | 12G | Lisa Eveland-Malaev | Grounds/Landscaping | Courtyard | Other | The fountain in the courtyard is loving 1/2 inch of water per day since a week agoe. | Bob added water to fountain | 2023-05-11 | 2023-05-11
2023-05-11 | 29G | Judy Hundley | Gounds/Landscaping | Common Grounds | Other | Can we remove the sand bags behind bldg 33 left side. They have been there for a long time. The lanai door is blocked which is a fire hazard by insurance codes also causing mokd and are located on common property. | B&M removed sand bags | 2023-05-11 | 2023-05-11
2023-05-12 | 10D | Sabina Duborg | Grounds/Landscaping | Common Grounds | Other | Large Racoon was spotted behind bldg 10 and along the lakes. The raccoon du up 2 turtle nests ate the turtle eggs. The racoon dug deep holes and kicked up mounds of dirt . | B&M covreed holes up | 2023-05-12 | 2023-05-12
2023-05-12 | 24B | Tom Greer | Gounds/Landscaping | Common Grounds | Other | The maintenance staff cut and shortened the downspouts behind my lanai in unit 24B. | B&M were told by Judy Hundley and Chieko to shorten spouts | 2023-05-15 | 2023-05-15
2023-05-12 | 24B | Tom Greer | Grounds/Landscaping | Common Grounds | Other | Maintenance staff cut and shortened the downspout behind my lanai in unit 24B. The ground behind my unit gets 3 feet under water with severe weather, plesae place a 6 foot downspout back. | B&M replaced to 6 feet. | 2023-05-15 | 2023-05-15
2023-05-15 | 1C | Elisa Knapp | Electrical/Light Bulbs | Building/Courtyard | Other | There is an outlet on the porch that is missing its cover. It was broken off when the bldg was painted. | B&M changed out outlet cover | 2023-05-15 | 2023-05-15
2023-05-15 | 29G | Judy Hundley | Clubhouse | Clubhouse | Other | Maintenance meeting 5/16/23 set up | B&M set up in clubhouse | 2023-05-15 | 2023-05-15
2023-05-15 | 23B | Annette Devoe | Gounds/Landscaping | Common Grounds | Other | Fountain quit working after electricity went out for a couple of seconds Saturday afternoon and is has not come back on | B&M got it back and running | 2023-05-15 | 2023-05-15
2023-05-15 | 23B | Annette Devoe | Electrical/Light Bulbs | Common Grounds | Other | change out light bulbs that matc h on the wall before courtyard 23A-D | B&M changed out light bulbs | 2023-05-15 | 2023-05-15
2023-05-15 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | Spray weed killer around crack areas of the paveres where weeds are growing in courtyard 29E-H | B&M sprayed week killer | 2023-05-15 | 2023-05-15
2023-05-16 | 10D | Sabina Duborg | Grounds/Landscaping | Common Grounds | Other | Duval landscapers cut down branches yesterday and were left by bldg 10 and 11. | Sabina and Mr. Sweeney picked up | 2023-05-16 | 2023-05-16
2023-05-16 | 28H | Leela Benford | Gounds/Landscaping | Common Grounds | Other | Ants coming from the palms in the garden area by the wall going up my stairs. Palms are infested. | Trimmed palm | 2023-05-18 | 2023-05-18
2023-05-16 | 5C | Merry Angelotti | Other | Building/Courtyard | Paint | Stairs need painted. | Matt painted stairs | 2023-05-19 | 2023-05-19
2023-05-17 | 3A | Bruce Witte | Grounds/Landscaping | Common Grounds | Other | Pool gate lattice on fence not screwed on and could cath someones clothes or skin please secure | Bob fixed with screws | 2023-05-17 | 2023-05-17
2023-05-17 | 10E | Bev Gorman | Fountain | Building/Courtyard | Other | courtyard fountain not working. Making a loud noise so we shut it off | Bob replaced parts | 2023-05-18 | 2023-05-18
2023-05-18 | 4A | James Scherz | Grounds/Landscaping | Common Grounds | Other | Need shells on walk way | Put shell down B&M | 2023-05-18 | 2023-05-18
2023-05-18 | Red Bridge | Judy Hundley | Gounds/Landscaping | Common Grounds | Other | Red bridge needs repaired on hand rails and repainted. | B&M replaced wood and painted | 2023-05-18 | 2023-05-18
2023-05-18 | 10B | Jo Anderson | Grounds/Landscaping | Building/Courtyard | irrigation | 2nd Thursday in a row fountain not going on in courtyard 10 A-D | Paul turned back on | 2023-05-19 | 2023-05-19
2023-05-18 | 16G | Henry Garcia | Grounds/Landscaping | Building/Courtyard | Other | Pressure wash stairway - prep for painting | Bob pressure washed | 2024-05-23 | 2024-05-23
2023-05-19 | Red Bridge | Bill Caples | Grounds/Landscaping | Common Grounds | Other | Replace wood handrails on red bridge and paint | B&M replaced boards and painted bridge | 2023-05-15 | 2023-05-15
2023-05-19 | Gill nite | Kathy Scherz | Grounds/Landscaping | Clubhouse | Grill Nite | Please set up for grill nite | B&M set up for grill nite | 2023-05-19 | 2023-05-19
2023-05-19 | 26A-D | Chieko | Grounds/Landscaping | Building/Courtyard | other | Please put pavers and fill sand & everything put back together | B&M fixed | 2023-05-19 | 2023-05-19
2023-05-22 | 6B | Joan Schnuesch | Gounds/Landscaping | Common Grounds | Other | Something dies underneath read bridge southside swams of flies | Bob removed dead possom | 2023-05-22 | 2023-05-22
2023-05-22 | 2F | Tabitha Hall | Grounds/Landscaping | Common Grounds | Other | Lamp amongst shrubbery on the right side of courthyard near 2F has burt out | Matt replaced bulb | 2023-05-22 | 2023-05-22
2023-05-22 | 3E | Nan Schreier | Grounds/Landscaping | Building/Courtyard | Other | Several fountsin along bldg 6-8 are running poorly or not at all due to low water. Can maintenance check them and put something in the weekly report about keeping the water level at the bottom scallop? Previously requested the water level info to be in the report. | Bob completed | 2023-05-22 | 2023-05-22
2023-05-22 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | Red bridge needs touch up underneath railing | Mat fininshed painting the red bridge and touched up | 2023-05-23 | 2023-05-23
2023-05-23 | 29G | Judy Hundley | Gounds/Landscaping | Common Grounds | Other | drain hole in walkway needs to be covered | Bob installed covers on both between bldgs. 24 & 25 | 2023-05-23 | 5/23/23/
2023-05-23 | 6B | Rudolf Schnuerch | Grounds/Landscaping | Common Grounds | Other | Loose paver at entrance of Bldg 14A-D | Bob Removed root underneath and installed paver | 2023-05-23 | 2023-05-23
2023-05-24 | 16G | Henry Garcia | Gounds/Landscaping | Building/Courtyard | Other | Paint Stairs | Matt painted stairs | 2023-05-24 | 2023-05-24
2023-05-24 | 22A | Richard Becker | Gounds/Landscaping | Building/Courtyard | Other | Fountain in 22A is not working | Matt reset breaker for fountain | 2024-05-23 | 2023-05-24
2023-05-24 | 30A | Phyllis Sellers | Gounds/Landscaping | Building/Courtyard | Other | The new clock by pool area is unable to ready the fan blades and motor are blocking it. Please move higher | Bob raised clock | 2023-05-24 | 2023-05-24
2023-05-24 | 30A | Phyllis Sellers | Grounds/Landscaping | Electrical/light bulbs | Other | Nearly one year that the light post opposite bldg 10 E-H has been inoperable. | Pending Electrician | 2023-05-24 | 2023-05-24
2023-05-24 | 25A | Claudia Moore | Grounds/Landscaping | Electrical/light bulbs | Other | Post light left flickering and needs to be replaced in 25A-D | Bob replaced bulb | 2023-05-24 | 2023-05-24
2023-05-24 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | please have maintenance cut the small piece of chain off the garbage crib lattace and throw away | Matt cut chain off lattace | 2023-05-25 | 2023-05-25
2023-05-24 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | Branches behind 12-14 needs to be picked up | Matt picked up branches from the ground cannot reach branch 10 feet from edge of pond | 2023-05-25 | 2023-05-25
2023-05-25 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | Why is there colored tape and black marker | Have to a call Luminous-Left vm closed for Holiday | 2023-05-25
2023-05-25 | 29G | Judy Hundley | Gounds/Landscaping | Common Grounds | Other | Bags of trash overflowing in 4G | Bob took trash out for pick up | 2023-05-25 | 2023-05-25
2023-05-25 | 29G | Judy Hundley | Gounds/Landscaping | Common Grounds | Other | Garbage Crib located between 33 and the clubouse needs a chain for the trash cans | Bob installed chain | 2023-05-25 | 2023-05-25
2023-05-25 | 29G | Judy Hundley | Grounds/Landscaping | Common Grounds | Other | Garbage crib between 17 and 18 palm tree needs removed fell over | Matt removed palm tree | 2023-05-25 | 2023-05-25
2023-05-25 | 22A | Richard Becker | Grounds/Landscaping | Common Grounds | irrigation | tree trimmerssnapped off one of the sprinkler heads. | Bob installed new sprinkler head | 2023-05-25 | 5/25/523
2023-05-25 | 22A | Richard Becker | Grounds/Landscaping | Electrical/light bulbs | Other | Ground lights snapped off its base and on its'side if you walk up the path between 22 and 23 if is on the left side | Bob replaced ground light | 2023-05-25 | 2023-05-25
2023-05-25 | 27H | Ingrid Laszlo | Grounds/Landscaping | Common Grounds | Other | Concrete block in bushes by pond 4 needs removed | Bob removed block | 2023-05-25 | 2023-05-25
2023-05-25 | 27H | Ingrid Laszlo | Grounds/Landscaping | Building/Courtyard | Other | Downspout between 22 and 21 near garbage crib needs replaced. | Bob installed new drain hose | 2023-05-25 | 2023-05-25
2023-05-25 | 10D | Sabina Duborg | Grounds/Landscaping | Building/Courtyard | Other | Fountain in bldg 10 not working | Bob reset breaker | 2023-05-25 | 2023-05-25
2023-05-25 | 10B | John Anderson | Grounds/Landscaping | Building/Courtyard | Fountain | Fontain in lake 2 not work | Pending - being worked on | 2023-05-25
2023-05-25 | 3E | Nan Schreier | Gounds/Landscaping | Common Grounds | Other | back gate one of the sprinklers on the tope of the gate is broken off. | Bob repaired gate and fence | 2025-05-23 | 2025-05-23
2023-05-31 | 6B | Joan Schneruch | Grounds/Landscaping | Common Grounds | Other | There is a large portion of a cut stump of a palm lying of Lake 1 between Bldg 3/4 | B&M removed stump | 2023-05-31 | 1931-05-23
2023-05-26 | 7A | Deb Hayes | Grounds/Landscaping | Commong | Other | The hibiscus 7B needs trimming. The crew did not cut it because they wanted me to ask Edda in 7D first. | Brightview trimmed | 2023-05-31 | 2023-05-31
2023-05-27 | 30A | Phyllis Sellers | Grounds/Landscaping | Building/Courtyard | Pool | clubhouse pool clock still needs to move up cannot see while in pool with fan and motor. | Bob moved up clock as far as he could | 2023-05-30 | 2023-05-30
2023-05-27 | 4A | James Scherz | Gounds/Landscaping | Building/Courtyard | Other | Trim tree outsdie of storage unit attached to carport 4 near 4 A-D | Brightview trimmed | 2023-05-31 | 2023-05-31
2023-05-24 | 26 A-D | Judy Hundley | Grounds/Landscaping | Building/Courtyard | Other | 26 A-D courtyard that the fountain's was rerouted under the pavers to the fountain. The pavers were placed back but they were very loose. | B&M Added sand under pavers and straghted them | 2023-05-24 | 2023-05-24
2023-05-22 | 3E | Nan Schreier | Grounds/Landscaping | Building/Courtyard | pool area | Both sides of fence needs to be washed very badly. While the guys are at it could they also stabilize with stones or gravel around the posts. | B&M cleaned fence area | 2023-05-31 | 2023-05-31
2023-05-24 | 29G | Judy Hundley | Gounds/Landscaping | Building/Courtyard | Other | Loose limbs in palms | Bob removed branch | 2023-05-30 | 2023-05-30
2023-05-28 | 29G | Judy Hundley | Gounds/Landscaping | Building/Courtyard | Other | Downspout needs reconnected the black drain pipe to the downspout located back of building 29 B&E area | Bob reconnected | 2023-05-30 | 2023-05-30
2023-05-28 | 29G | Judy Hundley | Grounds/Landscaping | Building/Courtyard | Other | Outside 29F privacy garden door there are red round pavers. Could maintaneance remove the 1st 2 for now because people have tripped. | Bob removed pavers | 2023-05-30 | 2023-05-30
5/32/23 | 4D | Donna Rakowski | Gounds/Landscaping | Building/Courtyard | Other | Worms eating bushes outsdie. | Matt sprayed for worms | 2023-05-31 | 2023-05-31
2023-03-30 | 9C | Cathy Harris | Grounds/Landscaping | Building/Courtyard | Paint | Pressure wash stairway - prep for painting | Bob pressure washed | 2023-05-30 | 1930-03-23
2023-03-31 | 9C | Cathy Harris | Grounds/Landscaping | Building/Courtyard | Paint | Paint Stairs | Matt painted stairs | 2023-03-31 | 2023-03-31